## ES parts
PN | Descrition | Qty | Where Used
206048 | O-RING BS228 VITON | 1 | ASSY. APS RP Source Lid
206240 | O-RING 4MM X-SEC VITON | 1
3003825 | O-RING BS024 VITON | 1
DT302385 | CERAMIC 1 | 1
E00278 | O-RING BS378V E-60C | 1
E01422 | O-RING BS272V E60C | 1
E01494 | O-RING BS261V E60C | 2
E06332 | O-RING BS236V E60C | 2
571598 | THERMOCOUPLE K TYPE | 1 | Source Water Circuit
230425 | FLOW SWITCH | 1
KT327673 | PEDESTAL SEAL KIT VITON | 1 | ASSY. RP TD-ESC Pedestal
236867 | TYPE B BONNET O-RING | 1 | Gate Valve
236868 | GATE VALVE I/FACE O-RING | 1
236898 | TYPE B G67P SEAL KIT | 1
212002 | KF16 O-RING/CARRIER | 1 | Foreline
714571 | KF50 O-RING/CARRIER | 1
3007547 | SMC TURBO ISOLATION VALVE - APS/ATH2804 | 1
206179 | O-RING BS383 KALREZ 9100 | 1 | Chamber
210331 | KF16 O-RING/CARRIER | 12
212132 | KF40 O-RING/CARRIER | 2
230396 | 10TORR MINI BARATON | 1
3005656 | O-RING 314 VITON | 3
3007168 | CAP MAN BROOKS CMX 100MT HORIZONTAL | 1
3007956 | PRESSURE SWITCH - ATMOS EN | 1
571795 | 10 TORR PRESSURE SWITCH | 1
3007995 | THERMAL SWITCH N/C 120C | 1
720542 | KF40 VIEWPORT SAPPHIRE | 1
E00276 | O-RING BS276V E-60C | 1
2025760 | LOOM. CHAMBER T/C 1 | 2
210258 | ISO250 O-RING/CARRIER | 2 | Turbo
2057509 | LOOM, PLATEN LIFT UP | 1 | Lower RF Enclosure
2057510 | LOOM, PLATEN LIFT DOWN | 1
FB327650 | BELLOWS ASSEMBLY | 1
2048098 | GLOW AWAY TUBE | 1
235038 | FILTER,PALL,MINI | 1 | Electrical Enclosure
3007321 | G9SB-200-B SAFETY RLY | 1
551552 | FUSE 12A 32MM Q/B UL | 1
3000829 | FUSE 1A 6.3 X 32MM F | 1
3000913 | FUSE 32MM 2A Q/B | 1
3007285 | FUSE 3A 6.3 X 32MM F | 1
3000830 | FUSE 4A 6.3 X 32MM F | 1
3000281 | 1A Q/B 20MM FUSE | 1
3007275 | FUSE 0.2A Q/B | 1
552012 | FUSE 2A 20MM Q/B | 1
552011 | FUSE 1A 20MM Q/B | 1
3000333 | FUSE 1A 20MM Q/B | 1
552097 | FUSE 3.15A 20MM Q/B | 1
716127 | FUSE 500MA TE5 Q/B | 1
206218 | O-Ring ID253mm Dia 4mm | 1 | Load Lock body
206997 | O-Ring BS381 E60C | 1
E06721 | O-Ring | 1
226064 | Pressure Switch | 1
218032 | Centring Ring DN25KF | 1
216731 | NW25 O-Ring Centring Ring/Splinter Shield | 4
212002 | NW16-KF Centering Ring | 1
206994 | O-Ring BS386 E60C | 1
226985 | Vacuum Switch | 1 | Pressure Sensor Kit
PN | Description | Qty | Whre Used
239162 | FKM O-RING (GATE) | 1 | Chamber
E00276 | O-RING BS276V E-60C | 1
720542 | KF40 VIEWPORT SAPPHIRE | 2
201167 | O-RING 280 K8575 | 1
230523 | ISO250 PEND.VALVE SEAL KIT | 1 | APC
716129 | GREASE - VAT VACUUM 5ML | 1
3003020 | ISO250 PEND. VALVE SEAL KIT | 1
211851 | GASKET PLAIN VCR 1/4" | 1 | Load Lock Body